## Slide 1: Discussion Book
Data Blocks
Engine Blocks
User Interface Blocks

## Slide 2: Design Principles
Manikin is a display for the state of the patient
Always be able to manage the patient
Distributed, modular, interoperable
Multimodal, physical, virtual, augmented, hybrid
Open Standards

## Slide 3: AMM Platform – The conduit for all aspects of Health Care Training
Scenario
Data
Debrief &
Assessment
Data
AMM Platform
Educational Encounter
Data
Data
Data
Data
Data
Data

## Slide 4: Basic Operational Model with AMM
Scenario
AMM
Patient
Learner
AMM
Patient
Learner
Performance Tracking
Debrief &
Assessment
Initial State
End State
Real Time Patient State
AMM Platform
Educational Encounter

## Slide 5: Open Standards
CORE - Core Operating Resources design
Reference Compute modules – reference design
DDS implementation – all required libraries
Data dictionaries – extendable, orthogonal
Reference Patient Data Sets
Standard Connectors between Torso, Limbs & Head
Performance Requirements

## Slide 6: AMM Platform
Software
Electronics
Connectors
Physical Model

## Slide 7: AMM Platform – Software & Electronics
Simulator State Engine
Simulation State Engine
Module State Engine
Analog Signal Processing
Core Computer
Module Computer
Auxiliary Processes
DDS
Other Computers
Analog Board
Processes
Processors
Actuators
Sensors
Physiology State Engine

## Slide 8: Open Standards - CORE
Central Operating REsources – CORE
  CORE is part of the AMM standard architecture and can be used by any segment that connects to the manikin through the standard connectors. The performance specifications, technical drawing packages and a bill of material detailing the reference hardware system will be published through the AMM web site.
  Power
    The architecture includes a central Power Management and on-board power capability that can be housed in any segment or external to the manikin. It can also be used to support the segments as independent Part Task Trainers. That requires a power architecture that can work bi-directional and would allow multiple batteries in multiple segments.
  Air
    The architecture includes a central pressurized air resource and manager that can be used by any segment and housed in any segment or external to the manikin. It can also be used to support the segments as independent Part Task Trainers.
  Fluid
    The architecture includes a central fluid resource and manager that can be used by any segment and housed in any segment or external to the manikin. It can also be used to support the segments as independent Part Task Trainers.

## Slide 9: Open Standards - Connectors

## Slide 10: Open Standards - Reference Compute Modules

## Slide 11: Principal Data Objects
Learner
AMM Patient
Scenario
Long Term Management
System

## Slide 12: Data Object - Learner
Learner ID
Demographics
Learning Pathway
  Content and exercises
Learner State
  Educational Encounter ID
  Educational Encounter ID
  Educational Encounter ID
  Educational Encounter ID

## Slide 13: Data Object – AMM Patient
AMM Patient ID
Initial state
  Anatomy
  Physiology
Can be physical, virtual, hybrid or standardized

## Slide 14: Data Object - Scenario
Scenario ID
Task, Condition, Standards
Learner Groups
Synthetic Patient ID

## Slide 15: Data Object – Patient Management
Patient Management ID
Learner ID
AMM Patient ID
Educational Encounter ID
Educational Encounter ID
Educational Encounter ID
Educational Encounter ID

## Slide 16: Data Object – System Instance
Educational encounter ID
Core version #
Module ID’s
Initial state
Resource requirements
End state

## Slide 17: Educational Encounter
Educational encounter ID
Learner ID
Learner ID
Time stamp initial
Time stamp end
Scenario ID
Learner initial state
Learner end state
Patient initial state
Patient end state
Recorded Data of Encounter

## Slide 18: Reference Data Sets
Physical Findings
Anatomy
Physiologic Variables (OPB)
Diseases
Procedures
Systemic Responses
Segments
Sub-segments
Emotional response
Environment

## Slide 19: Data Set – Physical Findings
Physical Finding | Meaning | Description | Type | Body Segment | Organ System | Specialty | Key Words | ICD-10 codes
Seizure | involuntary muscle contractions | sustained increase in muscle tone, of abrupt or gradual onset and offset, lasting a few seconds to a minute, usually 10-20 seconds; tonic seizures affecting proximal muscles bilaterally frequently lead to the adoption of a posture | Visual | All | Neurologic | Neurology; Neurosurgery | convulsion, epilepsy, tonic clonic, shaking | G40
abducens (CN VI) nerve palsy | esotropia, commonly linked to elevated ICP | esotropia (downward, inward gaze), bilateral or unilateral, diplopia | visual | head/neck - eye | Neurologic | neurology; Neurosurgery | CN 6, abducens, | H49.20
fixed, dilated pupils (CN III palsy) | fixed, dilated pupil, down and out eye position, linked with head trauma | With a complete oculomotor palsy, the eyelid will be paralyzed, the eye will be in an abducted and inferior position, and the pupil will be markedly dilated | visual | head/neck - eye | neurologic | neurology; Neurosurgery | CN III, oculomotor nerve palsy, fixed pupil, dilated pupil, | H49.0
CSF rhinorrhea or otorrhea | CSF leak | clear fluid leaking/draining from the nose or ears, indicative of trauma and leaking CSF | visual | head/neck - nose and ear | neurologic | neurology; Neurosurgery | rhinorrhea, otorrhea, CSF, cerebral spinal fluid leak | G96.0

## Slide 20: Data Set - Anatomy
AMM Patient ID
ABOM – FMA
MRI + optical scan
Segmented Anatomic Structures (stl)
Engineering Drawings (iges)

## Slide 21: Data Set - Physiologic Variables
BioGears -
KitWare
CAE
HumMod
OPB - http://sbp.bhi.washington.edu/projects/the-ontology-of-physics-for-biology-opb

## Slide 22: Data Set – Systemic Response
Septic shock
Hemorrhagic shock
Cardiogenic shock
Neurogenic shock
Hypoxia
Inflammatory response
Hyperkalemia
Hypokalemia
Hypernatremia
Hyponatremia
Hypercalcemia
Hypocalcemia
Infection
Blood loss
Heart not pumping enough
disruption of the autonomic pathways within the spinal cord
deficiency in the amount of oxygen reaching the tissues
tissues are injured by bacteria, trauma, toxins, heat
elevated level of potassium, kidney failure
low level of potassium, diarrhea, medications
high sodium ion level in the blood, hydration related
Low sodium level in the blood
high calcium level in the blood serum
low calcium level in the blood serum

## Slide 23: Data Set - Environment
Temperature – F0
Light - location, direction, color, intensity
Smell
Humidity (%)
Altitude (ft)
Land, Sea, Air (0,1,2)
Sound (recording + dbl)
Time of Day (UCT) https://www.timeanddate.com/worldclock/timezone/utc
Wet weather

## Slide 24: Data Model
Data Tables | EMR | ICD-10 | Physical Findings | Encounter Environment |  | 
Data Objects |  |  |  |  |  | 
Scenario |  |  |  |  |  | 
Student |  |  |  |  |  | 
System |  |  |  |  |  | 
Patient |  |  |  |  |  | 

## Slide 25: State Engine – Trigger Events
Time driven
Conditional
Operator driven

## Slide 26: Building Blocks
Scenario State Engine
Simulator State Engine
Physiology Engine
DDS Based Communication Layer
Body
Segment
Body
Segment
Body Segment
Body Segment
Body Segment
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Sub- Segments
Supporting Modules
Educational
Supporting Modules
Devices
Supporting Modules
Monitors
Supporting Modules
Supporting Modules
PERIPHERALS
Virtual Patient
LMS
Ventilator
Patient Monitor
Devices

## Slide 27: System Data Sets
Patient
Student
Simulator
Anatomy
Physiology
Physical Findings
Systemic Response
Emotional Response
Disease
Intervention

## Slide 28: Modules
Body – Age, Gender, BMI, Ethnicity, AMM Patient ID
  Segments (5)
    Sub-segments – as needed
      Decoupled complexity
      Hierarchical
Devices – Training Site
  Trainee
  Trainer
  Tech
Devices - Clinical
  Monitors
  Anesthesia Machine & Ventilator
  Surgical Instruments
  Displays
Software
  LMS
  Scenario Creation

## Slide 29: Peripheral Device Example Physical Exam Diagnostic Set
SpO2
Thermometer
BP Cuff
Otoscope
Ophthalmoscope
Stethoscope

## Slide 30: Peripheral Device Example Patient Monitor

## Slide 31: Peripheral Device Example Anesthesia Machine

## Slide 32: Peripheral Software Example - LMS
Content Delivery
Learning Path
Video Capture
Learner Performance Tracking
Debrief

## Slide 33: Peripheral Software Example - Scenario Creation Tool
Create de novo patients
Modify existing patients
Connect to DB’s

## Slide 34: Peripheral Software Example - Content Creation Tool
Create interactive content in support of an Educational Encounter

## Slide 36: What is AMM?
Who is asking?
  Integrated Co. CAE, Laerdal
    Have a symbiotic relationship with many smaller companies that add value to their integrated platforms
  In-between Co. Gaumard, Syndaver
    Enable them to up their game and maybe with part task trainers from smaller companies move into the role of Integrated Co.
  Part Task Trainer Co. Chamberlain, Simetri, Sawbones, Limbs & Things, MIMIC, Surgical Science, 3D Systems, SimuLab
    Increase the educational value of their products by having access to the core and provide patient connectivity and assessment
  Educational Customers
    One platform many learning opportunities

## Slide 37: What is AMM?
As we start to share the design documentation for the AMM project, we would also like to hear from you to understand where the value of this platform lies for you and where enhancements or modifications could make it more valuable.
All of the design documents and software that is directly being created under this contract will be available to all interested parties with a non-exclusive, royalty free license model.
These core components define a platform, that will allow you develop plug in products, or complete simulators without having to invest in engineering the core components that will be described in this web site.